## anchor_cities
[5 empty] | Inputs | [6 empty] | Energy Production & Fuel Use |  |  | Climate Emissions |  | Health Emissions | Life Cycle Cost Breakdown (25 year period) | Summary Financial Metrics |  | Climate Emissions | Health Emissions
cbsa | Point Person | Reviewer | City/MSA | State | Utility (REopt) | Utility Link (Rate Details from REopt) [OpenEI Link] | System Capacity (kW) | Adjusted System Capacity (kW) | State system capacity limit (kW) | Min btw state and utility NEM (kW) | System capacity *100 (for 100 apartments) | Recommended Solar Installation size (kW) | Avg Annual PV Energy Produciton (kWh) | Annual Renewable Electricity (% of total) | % Reduction in CO2 Emissions from BAU | Lifecycle Costs of Climate Emissions ($) (difference from BAU) | Lifecycle Costs of Health Emissions ($) (difference from BAU) | Total Utility Electricity Cost ($) | Total Life Cycle Costs ($) | IRR | Lifecycle Total t CO2 | Lifecycle Total t Nox | Lifecycle Total t SO2 | Lifecycle Total t PM2.5
[12 empty] | N/A | FINANCIAL | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | DIFFERENCE | Completed By | Date Completed | Reviewed | Date Reviewed
12060 | Grace | Cam | Atlanta | GA | Georgia Power Co: SCHEDULE TOU-REO-12 TIME OF USE RESIDENTIAL ENERGY ONLY | https://apps.openei.org/IURDB/rate/view/62d70d02299fe74c2030b72f#1__Basic_Information | 10kW | 10 | 10 | 10 | 1000 | 198 | 285349 | 100% | 9953% | -643917 | -105814 | -487713 | 286784 | 12.6% | -4098 | -2.64 | -2.19 | -0.23 | Grace | 2022-11-28
12260 | Julia | Cam | Augusta | GA | Georgia Power Co Schedule TOU-REO-13 Time of Use Residential Energy Only | https://apps.openei.org/IURDB/rate/view/62d70d02299fe74c2030b72f | 10kW | 10 | 10 | 10 | 1000 | 194 | 285349 | 100% | 100% | -647080 | -86883 | -480048 | 288213 | 12.7% | -4118 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
16700 | Julia | Virginia | Charleston | SC | South Carolina Electric & Gas Co: 5 (Residential Service Time of Use) | https://apps.openei.org/IURDB/rate/view/62c614ae8e77102d816deb6a | 20 kW | 20 | 20 | 20 | 2000 | 195 | 285496 | 100% | 99.79% | -645546 | -91569 | -650433 | 210843 | 17.7% | -4108 | -2.65 | -2.18 | -0.23 | Virginia | 2022-11-28
16740 | Virginia | Grace | Charlotte | NC | Duke Energy Carolinas Residental Service | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 205 | 285597 | 100% | 99.42% | -643216 | -102301 | -414706 | 296514 | 9.9% | -4093 | -2.64 | -2.17 | -0.23 | Virginia | 2022-11-29
16860 | Grace | Julia | Chattanooga | TN | City of Chattanooga, Tennessee (Utility Company) - Residential | https://apps.openei.org/IURDB/rate/view/5d1cc9715457a35864a745b5#1__Basic_Information | 0 kW | 0 | 0 | 0 | 0 | 46 | 63032 | 21% | 21.01% | -130552 | -17816 | -94731 | 421260 | 10.1% | -831 | -0.53 | -0.44 | -0.04 | Grace | 2022-11-28
17820 | Cam | Julia | Colorado Springs | CO | City of Colorado Springs, Colorado (Utility Company): Residential Service Time of Day (ETR) | https://apps.openei.org/IURDB/rate/view/5d260edf5457a31715dc1324 | 15 | 15 | 10 | 10 | 1000 | 163 | 255589 | 100% | 100.2% | -676080 | -23098 | -336471 | 335389 | 10.2% | -4302 | -2.68 | -1.26 | -0.09 | Cam | 2022-11-28
17900 | Cam | Virginia | Columbia | SC | South Carolina Electric&Gas Co Residential Service Time-of-use | https://apps.openei.org/IURDB/rate/view/62c614ae8e77102d816deb6a | 20 kW | 20 | 20 | 20 | 2000 | 197 | 285531 | 100% | 99.55% | -644006 | -96257 | -645637 | 362850 | 17.3% | -4098 | -2.64 | -2.16 | -0.23 | Virginia | 2022-11-28
19780 | Cam | Grace | Des Moines | IA | MidAmerican Energy Co: RATE RST - Residential Time-of-Use Service | https://apps.openei.org/IURDB/rate/view/6320b4743923e63054586c29 | 1000 kW | 1000 | 1000 | 1000 | 100000 | 199 | 265528 | 100% | 97.41% | -759412 | -189373 | -513404 | 238906 | 13.4% | -4833 | -3.34 | -4.4 | -0.22 | Cam | 2022-11-28
22180 | Naomi | Virignia | Fayetteville | NC | Central Electric | https://apps.openei.org/IURDB/rate/view/539f6eefec4f024411ecc80f | 100 kW | 100 | 20 | 20 | 2000 | 199 | 285416 | 100% | 99.96% | -646646 | -99748 | -473720 | 293309 | 12.2% | -4115 | -2.64 | -2.17 | -0.23 | Naomi | 2022-11-20
22220 | Julia | Virginia | Fayetteville | AR | Southwestern Electric Power Co (Arkansas) - Residential Service | https://apps.openei.org/IURDB/rate/view/58daa4dc5457a3cf273d33cc | 1000 kW | 1000 | 25 | 25 | 2500 | 196 | 273225 | 100% | 100.1% | -720172 | -125724 | -381846 | 289529 | 9.4% | -4583 | -3.58 | -3.9 | -0.25 | Julia | 2022-11-21
24860 | Virginia | Grace | Greenville | SC | Duke Energy Carolinas (South Carolina) Residential Time of Use RT | https://apps.openei.org/IURDB/rate/view/6377ea9c1d17d872ea043220 | 20 kW | 20 | 20 | 20 | 2000 | 198 | 285349 | 100% | 99.92% | -646417 | -90946 | -363138 | 335905 | 8.6% | -4114 | -2.65 | -2.2 | -0.23 | Virginia | 2022-11-29
26620 | Virginia | Cam | Huntsville | AL | City of Huntsville Schedule RS - Residential | https://apps.openei.org/IURDB/rate/view/637560c7da6b6c4dd6025d0f | 50 kW | 50 | 0 | 0 | 0 | 55.3439 | 76899 | 23.66% | 23.58% | -152562 | -21837.5 | -121095 | 470582 | 10.97% | -970.86 | -0.63 | -0.51 | -0.05 | Virginia | 2022-11-23
26900 | Virginia | Naomi | Indianapolis | IN | Indianapolis Power & Light Co RS - Residential - over 325 KWH per month [AKA AES Indiana] | https://apps.openei.org/IURDB/rate/view/5f4e57ce5457a3357aebd02a | 1,000 kW | 1000 | 0 | 0 | 0 | 118 | 156286 | 20% | 19.65% | -380294 | -117339 | -217831 | 1069017 | 8.72% | -2420 | -1.46 | -1.88 | -0.25 | Virginia | 2022-11-28
28940 | Cam | Virginia | Knoxville | TN | Appalachian Electric Coop: Residential Rate | https://apps.openei.org/IURDB/rate/view/539fc814ec4f024d2f53e29a | 10 kW | 10 | 0 | 0 | 0 | 44 | 61220 | 21% | 20.67% | -128435 | -18003 | -88246 | 401619 | 9.7% | -817 | -0.52 | -0.43 | -0.04 | Grace | 2022-11-28
29460 | Cam | Julia | Lakeland | FL | Tampa Electric Co: RS Residential Service | https://apps.openei.org/IURDB/rate/view/6261c2e664deb4670613eed7 | 100 kW? | 100 | 10 | 10 | 1000 | 216 | 335063 | 100% | 99.97% | -759779 | -121198 | -629416 | 372457 | 15.3% | -4835 | -3.1 | -2.61 | -0.27 | Cam | 2022-11-28
32580 | Cam | Naomi | McAllen | TX | Sharyland Utilities LP: Residential LSP POLR(McAllen Service Area) | https://apps.openei.org/IURDB/rate/view/54e4eb9e5357a35449d712c6 | 4700 kW | 4700 | 0 | 0 | 0 | 94 | 148354 | 34% | 34.23% | -232906 | -20141 | -248933 | 613172 | 13.8% | -1482 | -0.9 | -0.81 | -0.07 | Cam | 2022-11-28
34820 | Julia | Cam | Myrtle Beach | SC | South Carolina Public Service Authority | https://apps.openei.org/IURDB/rate/view/5903b7285457a3c031cd3b42 | 20 kW | 20 | 20 | 20 | 2000 | 191 | 285600 | 100% | 99.87% | -646070 | -80576 | -528406 | 254317 | 14.5% | -4111 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
34980 | Grace | Julia | Nashville | TN | Nashville Electric Service - RS Residential Service (Less than 500 kWh) | https://apps.openei.org/IURDB/rate/view/5d66d5365457a3ee03c68cdd | 14 kW | 14 | 0 | 0 | 0 | 43 | 58817 | 20% | 20% | -124246 | -19827 | -86141 | 407037 | 9.6% | -791 | -0.51 | -0.42 | -0.04 | Grace | 2022-11-22
35840 | Cam | Julia | Sarasota | FL | Florida power and light company: Residential TOU | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 207 | 335063 | 100% | 99.77% | -758300 | -114238 | -627104 | 408587 | 15.9% | -4826 | -3.09 | -2.59 | -0.27 | Cam | 2022-11-28
36420 | Cam | Grace | Oklahoma City | OK | Oklahoma Gas & Electric Co: Residential Service Time-Of_Use (R-TOU) | https://apps.openei.org/IURDB/rate/view/6356c69e58c76fdf4b0e0ffe | 25 kW | 25 | 300 | 25 | 2500 | 188 | 285349 | 100% | 100.1% | -751766 | -127479 | -436294 | 276832 | 11.8% | -4784 | -3.74 | -4.06 | -0.26 | Cam | 2022-11-28
37340 | Naomi | Grace | Palm Bay | FL | Florida power and light company | https://apps.openei.org/IURDB/rate/view/62c44bb9c144060cdb0d6576 | 2000 kW | 2000 | 10 | 10 | 1000 | 182 | 285349 | 100% | 99.76% | -645732 | -81198 | -550007 | 311841 | 15.9% | -4109 | -2.64 | -2.2 | -0.23 | Naomi | 2022-11-20
37860 | Julia | Grace | Pensacola | FL | Gulf Power Co: Rate Schedule RSTOU Residential Service Time-Of- Use | https://apps.openei.org/IURDB/rate/view/5da778565457a370136dbecf | 2000 kW | 2000 | 10 | 10 | 1000 | 221 | 335063 | 100% | 99.95% | -759650 | -87647 | -667574 | 275184 | 15.9% | -4834 | -3.11 | -2.6 | -0.27 | Julia | 2022-11-21
38860 | Virginia | Julia | Portland | ME | Central Maine Power Co A-TOU Residential Service Time-of-Use | https://apps.openei.org/IURDB/rate/view/63052f7f09fe8305307477c4 | 4999 kW | 4999 | 660 | 660 | 66000 | 190.6312 | 246690 | 92.26% | 92.92% | -447429 | -86128.3 | -920539 | 273418 | 25.4% | -2847.32 | -1.42 | -1.19 | -0.1 | Virginia | 2022-11-23
38940 | Grace | Naomi | Port St. Lucie | FL | Florida power and light company: RTR-1 Residential TOU Rate (RS-1 w/ TOU Rider) | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 220 | 335063 | 100% | 100.2% | -761893 | -91429 | -622893 | 430473 | 14.9% | -4848 | -3.11 | -2.65 | -0.28 | Grace | 2022-11-22
39580 | Cam | Naomi | Raleigh | NC | Duke Energy Carolinas, LLC: RT (Residential Service) | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 195 | 273357 | 100% | 99.69% | -619311 | -96087 | -397082 | 282141 | 10% | -3941 | -2.53 | -2.09 | -0.22 | Cam | 2022-11-28
40060 | Cam | Virginia | Richmond | VA | Virginia Electric & Power Co: 1S Residential Service (Demand Time-of-Use) | https://apps.openei.org/IURDB/rate/view/630e6c780ffe985205520aa7 | 1000 kW | 1000 | 20 | 20 | 2000 | 199 | 273225 | 100% | 99.38% | -617406 | -118455 | -422516 | 339275 | 10.5% | -3929 | -2.52 | -2.09 | -0.22 | Cam | 2022-11-28
41700 | Naomi | Cam | San Antonio | TX | City of San Antonio | https://apps.openei.org/IURDB/rate/view/62be24ebb343c172c34ddab7 | 1600 kW | 1600 | 0 | 0 | 0 | 67 | 102142 | 27% | 26.61% | -181079 | -20531 | -144867 | 498602 | 10.8% | -1152 | -0.69 | -0.64 | -0.05 | Naomi | 2022-11-29
44060 | Naomi | Grace | Spokane | WA | Avista Corp.: 1 Residential Service | https://apps.openei.org/IURDB/rate/view/62bcdb3bc616b33be7779c85 | 100 kW | 100 | 100 | 100 | 10000 | 210 | 255428 | 100% | 11.35% | -653411 | -83321 | -376025 | 371538 | 8.3% | -4158 | -3.18 | -2.25 | -0.2 | Naomi | 2022-11-28
49180 | Julia | Grace | Winston | NC | Duke Energy Carolinas, LLC: RS (Residential Service) | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 190 | 273225 | 100% | 99.65% | -619050 | -90692 | -397080 | 274943 | 10.4% | -3939 | -2.52 | -2.1 | -0.22 | Julia | 2022-11-30
0

## all_cities
[5 empty] | Inputs | [6 empty] | Energy Production & Fuel Use |  |  | Climate Emissions |  | Health Emissions | Life Cycle Cost Breakdown (25 year period) | Summary Financial Metrics |  | Climate Emissions | Health Emissions
cbsa | Point Person | Reviewer | City/MSA | State | Utility (REopt) | Utility Link (Rate Details from REopt) [OpenEI Link] | System Capacity (kW) | Adjusted System Capacity (kW) | State system capacity limit (kW) | Min btw state and utility NEM (kW) | System capacity *100 (for 100 apartments) | Recommended Solar Installation size (kW) | Avg Annual PV Energy Produciton (kWh) | Annual Renewable Electricity (% of total) | % Reduction in CO2 Emissions from BAU | Lifecycle Costs of Climate Emissions ($) (difference from BAU) | Lifecycle Costs of Health Emissions ($) (difference from BAU) | Total Utility Electricity Cost ($) | Total Life Cycle Costs ($) | IRR | Lifecycle Total t CO2 | Lifecycle Total t Nox | Lifecycle Total t SO2 | Lifecycle Total t PM2.5
[12 empty] | N/A | FINANCIAL | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | DIFFERENCE | Completed By | Date Completed | Reviewed | Date Reviewed
12060 | Naomi | Virginia | Alpharetta | GA | Georgia Power | https://apps.openei.org/IURDB/rate/view/62d70f2d146c525e2b34ab96 | 10 kW | 10 | 10 | 10 | 1000 | 199 | 285349 | 100% | 9967% | -644790 | -96477 | -489463 | 285902 | 12.6% | -4103 | -2.64 | -2.19 | -0.23 | Julia | 2022-11-28
12060 | Naomi | Julia | Sandy Springs | GA | Georgia Power Co Schedule 25-Residential | https://apps.openei.org/IURDB/rate/view/62d70f2d146c525e2b34ab96 | 10 kW | 10 | 10 | 10 | 1000 | 200 | 285432 | 100% | 9937% | -642872 | -95691 | -489326 | 286940 | 12.6% | -4091 | -2.64 | -2.16 | -0.23 | Naomi | 2022-11-29
12060 | Grace | Cam | Atlanta | GA | Georgia Power Co: SCHEDULE TOU-REO-12 TIME OF USE RESIDENTIAL ENERGY ONLY | https://apps.openei.org/IURDB/rate/view/62d70d02299fe74c2030b72f#1__Basic_Information | 10kW | 10 | 10 | 10 | 1000 | 198 | 285349 | 100% | 9953% | -643917 | -105814 | -487713 | 286784 | 12.6% | -4098 | -2.64 | -2.19 | -0.23 | Grace | 2022-11-28
12260 | Julia | Cam | Augusta | GA | Georgia Power Co Schedule TOU-REO-13 Time of Use Residential Energy Only | https://apps.openei.org/IURDB/rate/view/62d70d02299fe74c2030b72f | 10kW | 10 | 10 | 10 | 1000 | 194 | 285349 | 100% | 100% | -647080 | -86883 | -480048 | 288213 | 12.7% | -4118 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
12260 | Virginia | Cam | Richmond County | GA | Georgia Power Co SCHEDULE TOU-REO-13 TIME OF USE RESIDENTIAL ENERGY ONLY | https://apps.openei.org/IURDB/rate/view/62d70d02299fe74c2030b72f | 10 kW | 10 | 10 | 10 | 1000 | 196.3474 | 285593 | 100% | 99.84% | -645934 | -86986.9 | -481524 | 289918 | 12.61% | -4110.54 | -2.63 | -2.19 | -0.23 | Virginia | 2022-11-23
16700 | Julia | Virginia | Charleston | SC | South Carolina Electric & Gas Co: 5 (Residential Service Time of Use) | https://apps.openei.org/IURDB/rate/view/62c614ae8e77102d816deb6a | 20 kW | 20 | 20 | 20 | 2000 | 195 | 285496 | 100% | 99.79% | -645546 | -91569 | -650433 | 210843 | 17.7% | -4108 | -2.65 | -2.18 | -0.23 | Virginia | 2022-11-28
16700 | Virginia | Julia | North Charleston | SC | South Carolina Electric&Gas Co 5 (Residential Service Time-Of-Use) [Dominion subsidiary] | https://apps.openei.org/IURDB/rate/view/62c614ae8e77102d816deb6a | 20 kW | 20 | 20 | 20 | 2000 | 196.1417 | 285349 | 100% | 100% | -647229 | -91934.4 | -645131 | 218025 | 17.39% | -4118.78 | -2.65 | -2.2 | -0.23 | Virginia | 2022-11-23
16740 | Virginia | Grace | Charlotte | NC | Duke Energy Carolinas Residental Service | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 205 | 285597 | 100% | 99.42% | -643216 | -102301 | -414706 | 296514 | 9.9% | -4093 | -2.64 | -2.17 | -0.23 | Virginia | 2022-11-29
16740 | Grace | Naomi | Gastonia | NC | Duke Energy Progress | https://apps.openei.org/IURDB/rate/view/633f15b64fb39ae2a5020b0c | 20 kW | 20 | 20 | 20 | 2000 | 199 | 285458 | 100% | 99.22% | -641906 | -101419 | -553754 | 252137 | 14.6% | -4085 | -2.63 | -2.14 | -0.23
16740 | Grace | Virginia | Concord | NC | Progress Energy Carolinas Inc - Residential Time of Use (R-TOU-74) Single Phase | https://apps.openei.org/IURDB/rate/view/633f15b64fb39ae2a5020b0c | 20 kW | 20 | 20 | 20 | 2000 | 200 | 285349 | 100% | 99.74% | -645228 | -101196 | -552019 | 255528 | 14.4% | -4106 | -2.65 | -2.19 | -0.23 | Grace | 2022-11-29
16860 | Grace | Julia | Chattanooga | TN | City of Chattanooga, Tennessee (Utility Company) - Residential | https://apps.openei.org/IURDB/rate/view/5d1cc9715457a35864a745b5#1__Basic_Information | 0 kW | 0 | 0 | 0 | 0 | 46 | 63032 | 21% | 21.01% | -130552 | -17816 | -94731 | 421260 | 10.1% | -831 | -0.53 | -0.44 | -0.04 | Grace | 2022-11-28
17820 | Cam | Julia | Colorado Springs | CO | City of Colorado Springs, Colorado (Utility Company): Residential Service Time of Day (ETR) | https://apps.openei.org/IURDB/rate/view/5d260edf5457a31715dc1324 | 15 | 15 | 10 | 10 | 1000 | 163 | 255589 | 100% | 100.2% | -676080 | -23098 | -336471 | 335389 | 10.2% | -4302 | -2.68 | -1.26 | -0.09 | Cam | 2022-11-28
17900 | Cam | Virginia | Columbia | SC | South Carolina Electric&Gas Co Residential Service Time-of-use | https://apps.openei.org/IURDB/rate/view/62c614ae8e77102d816deb6a | 20 kW | 20 | 20 | 20 | 2000 | 197 | 285531 | 100% | 99.55% | -644006 | -96257 | -645637 | 362850 | 17.3% | -4098 | -2.64 | -2.16 | -0.23 | Virginia | 2022-11-28
19780 | Naomi | Grace | West Des Moines | IA | MidAmerican Energy: Rate RS | https://apps.openei.org/IURDB/rate/view/59c157e15457a39741bbb27c | 1000 kW | 1000 | 1000 | 1000 | 100000 | 196 | 265528 | 100% | 97.6% | -760910 | -180182 | -309341 | 273065 | 6.8% | -4842 | -3.36 | -4.43 | -0.22 | Naomi | 2022-11-28
19780 | Cam | Grace | Des Moines | IA | MidAmerican Energy Co: RATE RST - Residential Time-of-Use Service | https://apps.openei.org/IURDB/rate/view/6320b4743923e63054586c29 | 1000 kW | 1000 | 1000 | 1000 | 100000 | 199 | 265528 | 100% | 97.41% | -759412 | -189373 | -513404 | 238906 | 13.4% | -4833 | -3.34 | -4.4 | -0.22 | Cam | 2022-11-28
22180 | Naomi | Virignia | Fayetteville | NC | Central Electric | https://apps.openei.org/IURDB/rate/view/539f6eefec4f024411ecc80f | 100 kW | 100 | 20 | 20 | 2000 | 199 | 285416 | 100% | 99.96% | -646646 | -99748 | -473720 | 293309 | 12.2% | -4115 | -2.64 | -2.17 | -0.23 | Naomi | 2022-11-20
22220 | Naomi | Cam | Springdale | AR | SWEPCO | https://apps.openei.org/IURDB/rate/view/58daa4dc5457a3cf273d33cc | 1000 kW | 1000 | 25 | 25 | 2500 | 196 | 273317 | 100% | 100.3% | -721609 | -126017 | -381942 | 290120 | 9.4% | -4592 | -3.6 | -3.91 | -0.25 | Naomi | 2022-11-29
22220 | Julia | Virginia | Fayetteville | AR | Southwestern Electric Power Co (Arkansas) - Residential Service | https://apps.openei.org/IURDB/rate/view/58daa4dc5457a3cf273d33cc | 1000 kW | 1000 | 25 | 25 | 2500 | 196 | 273225 | 100% | 100.1% | -720172 | -125724 | -381846 | 289529 | 9.4% | -4583 | -3.58 | -3.9 | -0.25 | Julia | 2022-11-21
22220 | Julia | Grace | Rogers | AR | Southwestern Electric Power Co (Arkansas) - Residential Service | https://apps.openei.org/IURDB/rate/view/58daa4dc5457a3cf273d33cc | 1000 kW | 25 | 25 | 25 | 2500 | 191 | 273225 | 100% | 100.3% | -721577 | -129518 | -381892 | 283562 | 9.7% | -4592 | -3.58 | -3.9 | -0.25 | Julia | 2022-11-21
24860 | Julia | Naomi | Anderson | SC | Duke Energy Carolinas, LLC (South Carolina): Residential Time-of-Use RT | https://apps.openei.org/IURDB/rate/view/6377ea9c1d17d872ea043220 | 20 kW | 20 | 20 | 20 | 2000 | 198 | 285349 | 100% | 99.74% | -645275 | -83955 | -365218 | 333001 | 8.7% | -4106 | -2.65 | -2.18 | -0.23 | Julia | 2022-11-21
24860 | Virginia | Grace | Greenville | SC | Duke Energy Carolinas (South Carolina) Residential Time of Use RT | https://apps.openei.org/IURDB/rate/view/6377ea9c1d17d872ea043220 | 20 kW | 20 | 20 | 20 | 2000 | 198 | 285349 | 100% | 99.92% | -646417 | -90946 | -363138 | 335905 | 8.6% | -4114 | -2.65 | -2.2 | -0.23 | Virginia | 2022-11-29
26620 | Virginia | Cam | Huntsville | AL | City of Huntsville Schedule RS - Residential | https://apps.openei.org/IURDB/rate/view/637560c7da6b6c4dd6025d0f | 50 kW | 50 | 0 | 0 | 0 | 55.3439 | 76899 | 23.66% | 23.58% | -152562 | -21837.5 | -121095 | 470582 | 10.97% | -970.86 | -0.63 | -0.51 | -0.05 | Virginia | 2022-11-23
26900 | Virginia | Naomi | Indianapolis | IN | Indianapolis Power & Light Co RS - Residential - over 325 KWH per month [AKA AES Indiana] | https://apps.openei.org/IURDB/rate/view/5f4e57ce5457a3357aebd02a | 1,000 kW | 1000 | 0 | 0 | 0 | 118 | 156286 | 20% | 19.65% | -380294 | -117339 | -217831 | 1069017 | 8.72% | -2420 | -1.46 | -1.88 | -0.25 | Virginia | 2022-11-28
26900 | Grace | Julia | Anderson | IN | City of Anderson, Indiana (Utility Company) - Residential | https://apps.openei.org/IURDB/rate/view/556611cd5457a38533084543#1__Basic_Information | 0 kW | 0 | 0 | 0 | 0 | 45 | 59519 | 21% | 20.92% | -141495 | -40636 | -87190 | 398633 | 9.3% | -900 | -0.55 | -0.69 | -0.1
26900 | Grace | Naomi | Carmel | IN | Duke Energy, Indiana Inc: RS - Residential Service | https://apps.openei.org/IURDB/rate/view/63483d7e8ff7716dc30e6ab1 | 1000 kW | 1000 | 0 | 0 | 0 | 61 | 81103 | 25% | 25.46% | -172197 | -53073 | -157142 | 556250 | 13.2% | -1046 | -0.67 | -0.85 | -0.12 | Grace
28940 | Cam | Virginia | Knoxville | TN | Appalachian Electric Coop: Residential Rate | https://apps.openei.org/IURDB/rate/view/539fc814ec4f024d2f53e29a | 10 kW | 10 | 0 | 0 | 0 | 44 | 61220 | 21% | 20.67% | -128435 | -18003 | -88246 | 401619 | 9.7% | -817 | -0.52 | -0.43 | -0.04 | Grace | 2022-11-28
29460 | Grace | Cam | Winter Haven | FL | Tampa Electric Co - RSVP-1 RESIDENTIAL SERVICE VARIABLE PRICING PROGRAM | https://apps.openei.org/IURDB/rate/view/5e8e141e5457a34c255cdabf | 100 kW? | 100 | 10 | 10 | 1000 | 215 | 335063 | 100% | 99.98% | -759910 | -114545 | -497045 | 283549 | 11.7% | -4836 | -3.09 | -2.59 | -0.27 | Grace | 2022-11-28
29460 | Cam | Julia | Lakeland | FL | Tampa Electric Co: RS Residential Service | https://apps.openei.org/IURDB/rate/view/6261c2e664deb4670613eed7 | 100 kW? | 100 | 10 | 10 | 1000 | 216 | 335063 | 100% | 99.97% | -759779 | -121198 | -629416 | 372457 | 15.3% | -4835 | -3.1 | -2.61 | -0.27 | Cam | 2022-11-28
32580 | Naomi | Virginia | Mission | TX | Magic Valley Electric Coop Inc | https://apps.openei.org/IURDB/rate/view/5b4634835457a3e51da907e9 | 0 kW | 0 | 0 | 0 | 0 | 56 | 89142 | 27% | 27.32% | -158311 | -12521 | -111005 | 374460 | 9.8% | -1007 | -0.59 | -0.57 | -0.04 | Naomi | 2022-11-20
32580 | Naomi | Julia | Edinburg | TX | Magic Valley Electric Coop Inc | https://apps.openei.org/IURDB/rate/view/5b4634835457a3e51da907e9 | 4700 kW | 4700 | 0 | 0 | 0 | 54 | 86192 | 27% | 26.63% | -154310 | -12925 | -108033 | 375209 | 9.8% | -982 | -0.57 | -0.55 | -0.04 | Naomi | 2022-11-20
32580 | Cam | Naomi | McAllen | TX | Sharyland Utilities LP: Residential LSP POLR(McAllen Service Area) | https://apps.openei.org/IURDB/rate/view/54e4eb9e5357a35449d712c6 | 4700 kW | 4700 | 0 | 0 | 0 | 94 | 148354 | 34% | 34.23% | -232906 | -20141 | -248933 | 613172 | 13.8% | -1482 | -0.9 | -0.81 | -0.07 | Cam | 2022-11-28
34820 | Naomi | Cam | North Myrtle Beach | SC | Horry Electric Co Inc 3 phase resiential rate | https://apps.openei.org/IURDB/rate/view/53a33ed25257a32d270add33 | 20 kW | 20 | 20 | 20 | 2000 | 196 | 285349 | 100% | 99.64% | -644605 | -87684 | -497014 | 288660 | 13.1% | -4102 | -2.63 | -2.16 | -0.23 | Naomi | 2022-11-16
34820 | Julia | Virginia | Conway | SC | South Carolina Public Service Authority: Residential Time-Of-Use Rate Schedule RT-17 | https://apps.openei.org/IURDB/rate/view/5903b7285457a3c031cd3b42 | 20 kW | 20 | 20 | 20 | 2000 | 194 | 285415 | 100% | 100% | -646986 | -87043 | -527590 | 259664 | 14.2% | -4117 | -2.64 | -2.19 | -0.23 | Julia | 2022-11-21
34820 | Julia | Cam | Myrtle Beach | SC | South Carolina Public Service Authority | https://apps.openei.org/IURDB/rate/view/5903b7285457a3c031cd3b42 | 20 kW | 20 | 20 | 20 | 2000 | 191 | 285600 | 100% | 99.87% | -646070 | -80576 | -528406 | 254317 | 14.5% | -4111 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
34980 | Virginia | Grace | Franklin | TN | Nashville Electric Service RS Residential Service (Less than 500 kWh) | https://apps.openei.org/IURDB/rate/view/5d66d5365457a3ee03c68cdd | 14 kW | 14 | 0 | 0 | 0 | 44 | 61258 | 21% | 20.71% | -128646 | -19902 | -89192 | 405153 | 9.9% | -819 | -0.52 | -0.44 | -0.04 | Virginia | 2022-11-28
34980 | Virginia | Julia | Murfreesboro | TN | Nashville Electric Service RS Residential Service (Less than 500 kWh) | https://apps.openei.org/IURDB/rate/view/5d66d5365457a3ee03c68cdd | 8 kW | 8 | 0 | 0 | 0 | 43.5307 | 59561 | 20.29% | 20.15% | -125208 | -20681.6 | -86913 | 406402 | 9.73% | -796.78 | -0.51 | -0.42 | -0.04 | Virginia | 2022-11-23
34980 | Grace | Julia | Nashville | TN | Nashville Electric Service - RS Residential Service (Less than 500 kWh) | https://apps.openei.org/IURDB/rate/view/5d66d5365457a3ee03c68cdd | 14 kW | 14 | 0 | 0 | 0 | 43 | 58817 | 20% | 20% | -124246 | -19827 | -86141 | 407037 | 9.6% | -791 | -0.51 | -0.42 | -0.04 | Grace | 2022-11-22
35840 | Julia | Naomi | Bradenton | FL | Florida Power & Light Co. - RTR-1 Residential TOU Rate (RS-1 w/ TOU Rider) | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 207 | 335063 | 100% | 100.1% | -760980 | -123177 | -632671 | 402258 | 16.1% | -4843 | -3.1 | -2.61 | -0.27 | Julia | 2022-11-21
35840 | Grace | Virginia | North Port | FL | Florida power and light company: RTR-1 Residential TOU Rate (RS-1 w/ TOU Rider) | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 215 | 335063 | 100% | 100.1% | -760976 | -107750 | -621006 | 425182 | 15.2% | -4843 | -3.1 | -2.61 | -0.27 | Grace | 2022-11-22
35840 | Cam | Julia | Sarasota | FL | Florida power and light company: Residential TOU | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 207 | 335063 | 100% | 99.77% | -758300 | -114238 | -627104 | 408587 | 15.9% | -4826 | -3.09 | -2.59 | -0.27 | Cam | 2022-11-28
36420 | Cam | Grace | Oklahoma City | OK | Oklahoma Gas & Electric Co: Residential Service Time-Of_Use (R-TOU) | https://apps.openei.org/IURDB/rate/view/6356c69e58c76fdf4b0e0ffe | 25 kW | 25 | 300 | 25 | 2500 | 188 | 285349 | 100% | 100.1% | -751766 | -127479 | -436294 | 276832 | 11.8% | -4784 | -3.74 | -4.06 | -0.26 | Cam | 2022-11-28
37340 | Naomi | Grace | Palm Bay | FL | Florida power and light company | https://apps.openei.org/IURDB/rate/view/62c44bb9c144060cdb0d6576 | 2000 kW | 2000 | 10 | 10 | 1000 | 182 | 285349 | 100% | 99.76% | -645732 | -81198 | -550007 | 311841 | 15.9% | -4109 | -2.64 | -2.2 | -0.23 | Naomi | 2022-11-20
37340 | Naomi | Julia | Titusville | FL | Florida power and light company | https://apps.openei.org/IURDB/rate/view/62c44bb9c144060cdb0d6576 | 2000 kW | 2000 | 10 | 10 | 1000 | 214 | 335063 | 100% | 99.93% | -759482 | -92498 | -645776 | 366756 | 15.9% | -4833 | -3.1 | -2.59 | -0.27 | Naomi | 2022-11-29
37340 | Virginia | Naomi | Melbourne | FL | Florida power and light company RTR-1 Residential TOU Rate (RS-1 w/ TOU Rider) | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 213 | 335063 | 100% | 99.97% | -759766 | -95554 | -628365 | 415325 | 15.5% | -4835 | -3.11 | -2.59 | -0.27 | Virginia | 2022-11-23
37860 | Julia | Grace | Pensacola | FL | Gulf Power Co: Rate Schedule RSTOU Residential Service Time-Of- Use | https://apps.openei.org/IURDB/rate/view/5da778565457a370136dbecf | 2000 kW | 2000 | 10 | 10 | 1000 | 221 | 335063 | 100% | 99.95% | -759650 | -87647 | -667574 | 275184 | 15.9% | -4834 | -3.11 | -2.6 | -0.27 | Julia | 2022-11-21
37860 | Julia | Cam | Brent | FL | Gulf Power Co: Rate Schedule RSTOU Residential Service Time-of-Use | https://apps.openei.org/IURDB/rate/view/5da778565457a370136dbecf | 2000 kW | 2000 | 10 | 10 | 1000 | 220 | 335063 | 100% | 99.95% | -759617 | -87540 | -668976 | 272771 | 16% | -4834 | -3.11 | -2.6 | -0.27 | Julia | 2022-11-21
37860 | Grace | Cam | Ferry Pass | FL | Escambia River Elec Coop, Inc: Residential Time of Use- RES TOU | https://apps.openei.org/IURDB/rate/view/539fb93cec4f024bc1dc1ffd | 2000 kW | 2000 | 10 | 10 | 1000 | 227 | 335193 | 100% | 100.2% | -761383 | -87950 | -486635 | 350241 | 10.7% | -4845 | -3.12 | -2.62 | -0.27 | Grace | 2022-11-28
38860 | Virginia | Cam | South Portland | ME | Central Maine Power Co A-TOU Residential Service Time-of-Use | https://apps.openei.org/IURDB/rate/view/63052f7f09fe8305307477c4 | 4999 kW | 4999 | 660 | 660 | 66000 | 190.6312 | 246690 | 92.26% | 92.92% | -447429 | -86128.3 | -920539 | 273418 | 25.4% | -2847.32 | -1.42 | -1.19 | -0.1 | Virginia | 2022-11-23
38860 | Virginia | Julia | Portland | ME | Central Maine Power Co A-TOU Residential Service Time-of-Use | https://apps.openei.org/IURDB/rate/view/63052f7f09fe8305307477c4 | 4999 kW | 4999 | 660 | 660 | 66000 | 190.6312 | 246690 | 92.26% | 92.92% | -447429 | -86128.3 | -920539 | 273418 | 25.4% | -2847.32 | -1.42 | -1.19 | -0.1 | Virginia | 2022-11-23
38940 | Grace | Naomi | Port St. Lucie | FL | Florida power and light company: RTR-1 Residential TOU Rate (RS-1 w/ TOU Rider) | https://apps.openei.org/IURDB/rate/view/62c44d84924e2352a30de5d6 | 2000 kW | 2000 | 10 | 10 | 1000 | 220 | 335063 | 100% | 100.2% | -761893 | -91429 | -622893 | 430473 | 14.9% | -4848 | -3.11 | -2.65 | -0.28 | Grace | 2022-11-22
39580 | Grace | Virignia | Cary | NC | Progress Energy Carolinas Inc: Residential Time of Use (R-TOU-56) Single Phase | https://apps.openei.org/IURDB/rate/view/633f15b64fb39ae2a5020b0c | 100 kW | 100 | 20 | 20 | 2000 | 197 | 273225 | 100% | 99.54% | -618422 | -98704 | -525148 | 249713 | 13.9% | -3935 | -2.52 | -2.11 | -0.22 | Grace |  | single phase
39580 | Cam | Naomi | Raleigh | NC | Duke Energy Carolinas, LLC: RT (Residential Service) | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 195 | 273357 | 100% | 99.69% | -619311 | -96087 | -397082 | 282141 | 10% | -3941 | -2.53 | -2.09 | -0.22 | Cam | 2022-11-28
40060 | Cam | Virginia | Richmond | VA | Virginia Electric & Power Co: 1S Residential Service (Demand Time-of-Use) | https://apps.openei.org/IURDB/rate/view/630e6c780ffe985205520aa7 | 1000 kW | 1000 | 20 | 20 | 2000 | 199 | 273225 | 100% | 99.38% | -617406 | -118455 | -422516 | 339275 | 10.5% | -3929 | -2.52 | -2.09 | -0.22 | Cam | 2022-11-28
41700 | Naomi | Cam | San Antonio | TX | City of San Antonio | https://apps.openei.org/IURDB/rate/view/62be24ebb343c172c34ddab7 | 1600 kW | 1600 | 0 | 0 | 0 | 67 | 102142 | 27% | 26.61% | -181079 | -20531 | -144867 | 498602 | 10.8% | -1152 | -0.69 | -0.64 | -0.05 | Naomi | 2022-11-29
41700 | Cam | Grace | New Braunfels | TX | Peternales Electric Coop, Inc: Residential and Farm/Ranch - Time of Use | https://apps.openei.org/IURDB/rate/view/5d1b77675457a3133ba745b5 | 50 kW | 50 | 0 | 0 | 0 | 81 | 122318 | 30% | 29.92% | -203535 | -20919 | -172566 | 498456 | 10.6% | -1295 | -0.78 | -0.71 | -0.06 | Cam | 2022-11-28
44060 | Naomi | Grace | Spokane | WA | Avista Corp.: 1 Residential Service | https://apps.openei.org/IURDB/rate/view/62bcdb3bc616b33be7779c85 | 100 kW | 100 | 100 | 100 | 10000 | 210 | 255428 | 100% | 11.35% | -653411 | -83321 | -376025 | 371538 | 8.3% | -4158 | -3.18 | -2.25 | -0.2 | Naomi | 2022-11-28
44060 | Julia | Naomi | Spokane Valley | WA | Avista Corp - 1 Residential Service | https://apps.openei.org/IURDB/rate/view/62bcdb3bc616b33be7779c85 | 100 kW | 100 | 100 | 100 | 10000 | 207 | 255428 | 100% | 100.1% | -651619 | -82733 | -375751 | 367529 | 8.5% | -4147 | -3.17 | -2.23 | -0.19 | Julia | 2022-11-21
49180 | Julia | Grace | Winston | NC | Duke Energy Carolinas, LLC: RS (Residential Service) | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 190 | 273225 | 100% | 99.65% | -619050 | -90692 | -397080 | 274943 | 10.4% | -3939 | -2.52 | -2.1 | -0.22 | Julia | 2022-11-30
49180 | Virginia | Naomi | Salem | NC | Duke Energy Carolinas Residental Service | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 195 | 273225 | 100% | 99.59% | -618742 | -79239 | -397082 | 282656 | 10% | -3937 | -2.52 | -2.08 | -0.22 | Virginia | 2022-11-29
0

## Metadata
About REopt
Model Inputs
Model Outputs
*Use "financial" result for all but climate and health emissions
Output file naming convention: MSA_State_cbsa#_REopt.pdf
Term | Definition
Average Annaul Energy Supplied from Gird | The expected annual AC energy production from the PV system, in kWh, over the system's lifetime
Average Renewable Electricity (% of electricity consumption) | Expected energy supplied by the utility grid to meet load in year 1, in kWh
Total CO2 Emissions in Year 1 (difference from BAU) | Sum of the CO₂ emissions in metric tons attributable to both the consumption of fuels and the electricity purchased from the utility for the site in year 1. By default, REopt uses marginal grid emissions factors in this calculation
Percent Reduction in CO2 Emissions from BAU | Percent reduction in the total CO₂ emissions which would be realized by the recommended project over the analysis period. This is calculated as the difference between the “Business As Usual” (BAU) case total emissions and the optimized case total emissions, divided by the BAU total emissions.
Lifecycle Total tCO2 (difference from BAU) | Sum of the CO₂ emissions in metric tons attributable to both the consumption of fuels and the electricity purchased from the utility for the site over the analysis period (25 years). By default, REopt uses marginal grid emissions factors in this calculation
Lifecycle Costs of Climate Emissions | Total social cost of CO2 emissions associated with the site’s energy consumption over the analysis period. By default, REopt uses marginal grid emissions factors in this calculation
Lifecycle Costs of Health Emissions | Total cost to human health of NOx, SO2, and PM2.5 emissions associated with the site’s energy consumption over the analysis period. By default, REopt uses marginal grid emissions factors in this calculation.
O&M Cost | Lifecycle cost, in present value, of all operations and maintenance costs
Total Utility Electricity Cost | Lifecycle cost, in present value, of all utility electricity costs, including any export benefits
Total Lifecycle Cost | The present value of costs, after taxes and incentives associated with each project option. For the Financial or Resilience cases, this includes the utility demand and energy costs as well as the capital expenditure, tax benefits and incentives, and O&M costs associated with the project: PV, wind, energy storage, CHP, absorption chiller, and total backup diesel generator (if recommended). Note that fixed fees charged by the utility are not included, and therefore the actual lifecycle cost of energy may be higher if the utility charges fixed fees. However, because fixed fees cannot be offset by PV, wind, energy storage, or CHP, these net out in the calculation of net present value.
Payback Period | The amount of time, in years, required to recover the capital cost of the recommended energy system. The payback period accounts for the value of avoided utility costs realized by the system, installation and operating costs, incentives, income taxes, and depreciation. It is the number of years until the cumulative cashflow reaches a positive number.
PV Levalized Cost of Energy | The levelized cost of energy (LCOE), in $/kWh, is the levelized net present cost of the annual electricity generation for the technology over its lifetime.

## scrap data
Virginia | Grace | 16740 | Charlotte | NC | Duke Energy Carolinas | https://apps.openei.org/IURDB/rate/view/62d84051299fe74c2030b732 | 20 kW | 20 | 20 | 20 | 2000 | 4.8616 | 6784 | 2.377% | 2.364% | -15291.6 | -2431.39 | -7005 | 306827 | 5.7% | -97.31 | -0.06 | -0.05 | 0 | Virginia | 2022-11-23
Virginia | Grace | 24860 | Greenville | SC | Duke Energy Carolinas | https://apps.openei.org/IURDB/rate/view/62d84051299fe74c2030b732 | 20 kW | 20 | 20 | 20 | 2000 | 6.3108 | 9082 | 3.183% | 3.18% | -20573.5 | -2894.53 | -9327 | 306582 | 5.99% | -130.92 | -0.09 | -0.07 | -0.01 | Virginia | 2022-11-23
Virginia | Grace | 34980 | Franklin | TN | Nashville Electric Service RS Residential Service (Less than 500 kWh) | https://apps.openei.org/IURDB/rate/view/5d66d5365457a3ee03c68cdd | 14 kW | 14 | 0 | 0 | 0 | 43.5307 | 59561 | 20.29% | 20.15% | -125208 | -20681.6 | -86913 | 406402 | 9.73% | -796.78 | -0.51 | -0.42 | -0.04 | Virginia | 2022-11-23
Virginia | Naomi | 26900 | Indianapolis | IN | Indianapolis Power & Light Co RS - Residential - over 325 KWH per month [AKA AES Indiana] | https://apps.openei.org/IURDB/rate/view/5f4e57ce5457a3357aebd02a | 1,000 kW | 1000 | 0 | 0 | 0 | 41.204 | 54628 | 19.57% | 19.65% | -132927 | -41014.3 | -76140 | 376799 | 8.72% | -845.91 | -0.52 | -0.66 | -0.09 | Virginia | 2022-11-23
Julia | Grace | 49180 | Winston | NC | Duke Energy Carolinas Residental Service | https://apps.openei.org/IURDB/rate/view/62d84625299fe74c2030b733 | 20 kW | 20 | 20 | 20 | 2000 | 3 | 4954 | 2% | 1.81% | -11223 | -1644 | -4984 | 295641 | 5.8% | -71 | -0.04 | -0.03 | 0 | Julia | 2022-11-21