## Current_MSAs
|  | Inputs | [8 empty] | Energy Production & Fuel Use |  |  | Climate Emissions |  | Health Emissions | Life Cycle Cost Breakdown (25 year period) | Summary Financial Metrics |  | Climate Emissions | Health Emissions
Point Person | Reviewer | cbsa | City/MSA | State | Utility | System Capacity (kW) | Adjusted System Capacity (kW) | State system capacity limit (kW) | Min btw state and utility NEM (kW) | System capacity *100 (for 100 apartments) | Recommended Solar Installation size (kW) | Avg Annual PV Energy Produciton (kWh) | Annual Renewable Electricity (% of total) | % Reduction in CO2 Emissions from BAU | Lifecycle Costs of Climate Emissions ($) (difference from BAU) | Lifecycle Costs of Health Emissions ($) (difference from BAU) | Total Utility Electricity Cost ($) | Total Life Cycle Costs ($) | IRR | Lifecycle Total t CO2 | Lifecycle Total t Nox | Lifecycle Total t SO2 | Lifecycle Total t PM2.5
[11 empty] | N/A | FINANCIAL | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | FINANCIAL | FINANCIAL | DIFFERENCE | DIFFERENCE | DIFFERENCE | DIFFERENCE | Completed By | Date Completed
Naomi | Virginia | 12060 | Alpharetta | GA | Georgia Power | 10 kW | 10 | 10 | 10 | 1000
Naomi | Virignia | 22180 | Fayetteville | NC | Central Electric | 100 kW | 100 | 20 | 20 | 2000 | 199 kW | 285416 | 100% | 99.96% | -646646 | -99748 | -473720 | -188920 | 12.2% | -4115 | -2.64 | -2.17 | -0.23 | Naomi | 2022-11-20
Naomi | Virginia | 32580 | Mission | TX | Cirro Energy | 0 kW | 0 | 0 | 0 | 0 | 56 kW | 89142 | 27% | 27.32% | -158311 | -12521 | -111005 | -31444 | 9.8% | -1007 | -0.59 | -0.57 | -0.04 | Naomi | 2022-11-20
Naomi | Grace | 37340 | Palm Bay | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 182 kW | 285349 | 100% | 99.76% | -645732 | -81198 | -550007 | -288850 | 15.9% | -4109 | -2.64 | -2.2 | -0.23 | Naomi | 2022-11-20
Naomi | Grace | 44060 | Spokane | WA | Puget Sound Energy | 100 kW | 100 | 100 | 100 | 10000 | 235 kW | 285349 | 100% | 100.4% | -729952 | -93081 | -420072 | -83088 | 8.3% | -4645 | -3.56 | -2.52 | -0.23 | Naomi | 2022-11-20
Naomi | Grace | 19780 | West Des Moines | IA | MidAmerican Energy | 1000 kW | 1000 | 1000 | 1000 | 100000 | 211 kW | 285349 | 100% | 97.6% | -817710 | -193632 | -332433 | -30695 | 6.8% | -5204 | -3.62 | -4.76 | -0.24 | Naomi | 2022-11-20
Naomi | Julia | 32580 | Edinburg | TX | TXU Energy | 4700 kW | 4700 | 0 | 0 | 0 | 54 kW | 86192 | 27% | 26.63% | -154310 | -12925 | -108033 | -30695 | 9.8% | -982 | -0.57 | -0.55 | -0.04 | Naomi | 2022-11-20
Naomi | Julia | 37340 | Titusville | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 182 kW | 285349 | 100% | 99.93% | -646796 | -78774 | -549961 | -288669 | 15.9% | -4116 | -2.64 | -2.2 | -0.23 | Naomi | 2022-11-20
Naomi | Julia | 12060 | Sandy Springs | GA | Georgia Power | 10 kW | 10 | 10 | 10 | 1000 |  | 128042 | 32% | 0.3139 | -55985 | 30092 | -126151 | 544074 |  | -1292 |  |  |  | Julia
Naomi | Cam | 22220 | Springdale | AR | SWEPCO | 1000 kW | 1000 | 25 | 25 | 2500
Naomi | Cam | 34820 | North Myrtle Beach | SC | Horry Electric Co Inc | 20 kW | 20 | 20 | 20 | 2000 | 229 Kw | 333,868 kWh | 100% | 106.9% | -691683 |  | -179251 | -722249 | 2.2% | -4402 | -2.86 | -2.47 | -0.24 | Naomi | 2022-11-16
Naomi | Cam | 41700 | San Antonio | TX | CPS Energy | 1600 kW | 1600 | 0 | 0 | 0
Julia | Virginia | 16700 | Charleston | SC | South Carolina Electric & Gas Co: 5 (Residential Service Time of Use) | 20 kW | 20 | 20 | 20 | 2000 | 705 | 1032536 | 100% | 98.74% | -1311192 | -191628 | -2346133 | -1141780 | 7.5% | -4065 | -2.59 | -2.26 | -0.23 | Julia | 2022-11-21
Julia | Virginia | 22220 | Fayetteville | AR | SWEPCO | 1000 kW | 1000 | 25 | 25 | 2500 | 196 | 273225 | 100% | 100.1% | -720172 | -125724 | -381846 | 289529 | 9.4% | -4583 | -3.58 | -3.9 | -0.25 | Julia | 2022-11-21
Julia | Virginia | 34820 | Conway | SC | South Carolina Public Service Authority | 20 kW | 20 | 20 | 20 | 2000 | 194 | 285415 | 100% | 100% | -646986 | -87043 | -527590 | 259664 | 14.2% | -4117 | -2.64 | -2.19 | -0.23 | Julia | 2022-11-21
Julia | Grace | 37860 | Pensacola | FL | Florida power and light company (fka Gulf Power Co) | 2000 kW | 2000 | 10 | 10 | 1000 | 221 | 335063 | 100% | 99.95% | -759650 | -87647 | -667574 | 275184 | 15.9% | -4834 | -3.11 | -2.6 | -0.27 | Julia | 2022-11-21
Julia | Grace | 49180 | Winston | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000 | 3 | 4954 | 2% | 1.81% | -11223 | -1644 | -4984 | 295641 | 5.8% | -71 | -0.04 | -0.03 | 0 | Julia | 2022-11-21
Julia | Grace | 22220 | Rogers | AR | SWEPCO | 1000 kW | 25 | 25 | 25 | 2500 | 191 | 273225 | 100% | 100.3% | -721577 | -129518 | -381892 | 283562 | 9.7% | -4592 | -3.58 | -3.9 | -0.25 | Julia | 2022-11-21
Julia | Cam | 34820 | Myrtle Beach | SC | South Carolina Public Service Authority | 20 kW | 20 | 20 | 20 | 2000 | 191 | 285600 | 100% | 99.87% | -646070 | -80576 | -528406 | -254317 | 14.5% | -4111 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
Julia | Cam | 37860 | Brent | FL | Gulf Power Co | 2000 kW | 2000 | 10 | 10 | 1000 | 220 | 335063 | 100% | 99.95% | -759617 | -87540 | -668976 | 272771 | 16% | -4834 | -3.11 | -2.6 | -0.27 | Julia | 2022-11-21
Julia | Cam | 12260 | Augusta | GA | Georgia Power | 10kW | 10 | 10 | 10 | 1000 | 194 | 85349 | 100% | 100% | -647080 | -86883 | -480048 | 288213 | 12.7% | -4118 | -2.64 | -2.18 | -0.23 | Julia | 2022-11-21
Julia | Naomi | 24860 | Anderson | SC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000 | 198 | 285349 | 100% | 99.74% | -645275 | -83955 | -365218 | 333001 | 8.7% | -4106 | -2.65 | -2.18 | -0.23 | Julia | 2022-11-21
Julia | Naomi | 35840 | Bradenton | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 207 | 335063 | 100% | 100.1% | -760980 | -123177 | -632671 | -336277 | 16.1% | -4843 | -3.1 | -2.61 | -0.27 | Julia | 2022-11-21
Julia | Naomi | 44060 | Spokane Valley | WA | Avista | 100 kW | 100 | 100 | 100 | 10000 | 207 | 255428 | 100% | 100.1% | -651619 | -82733 | -375751 | -78384 | 8.5% | -4147 | -3.17 | -2.23 | -0.19 | Julia | 2022-11-21
Virginia | Grace | 16740 | Charlotte | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000
Virginia | Grace | 24860 | Greenville | SC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000
Virginia | Grace | 34980 | Franklin | TN | Nashville Electric Service | 14 kW | 14 | 0 | 0 | 0
Virginia | Cam | 38860 | South Portland | ME | Central Maine Power Co | 4999 kW | 4999 | 660 | 660 | 66000
Virginia | Cam | 12260 | Richmond County | GA | Georgia Power | 10 kW | 10 | 10 | 10 | 1000
Virginia | Cam | 26620 | Huntsville | AL | Huntsville Utilities | 50 kW | 50 | 0 | 0 | 0
Virginia | Julia | 34980 | Murfreesboro | TN | Atmos Energy | 8 kW | 8 | 0 | 0 | 0
Virginia | Julia | 38860 | Portland | ME | Central Maine Power Co | 4999 kW | 4999 | 660 | 660 | 66000
Virginia | Julia | 16700 | North Charleston | SC | Dominion Energy | 20 kW | 20 | 20 | 20 | 2000
Virginia | Naomi | 26900 | Indianapolis | IN | AES Indiana (fka Indianapolis Power & Light Co) | 1,000 kW | 1000 | 0 | 0 | 0
Virginia | Naomi | 37340 | Melbourne | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 213 | 335063 | 100% | 99.97% | -759766 | -95554 | -628365 | 415325 | 15.5% | -4835 | -3.11 | -2.59 | -0.27 | Virginia | 2022-11-23
Virginia | Naomi | 49180 | Salem | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000
Grace | Julia | 16860 | Chattanooga | TN | Electric Power Board | 0 kW | 0 | 0 | 0 | 0
Grace | Julia | 26900 | Anderson | IN | Anderson Municipal Light & Power | 0 kW | 0 | 0 | 0 | 0 | 45 | 59519 | 21% | 20.92% | -141495 | -40636 | -87190 | 398633 | 9.3% | -900 | -0.55 | -0.69 | -0.1
Grace | Julia | 34980 | Nashville | TN | Nashville Electric Service | 14 kW | 14 | 0 | 0 | 0 | 43 | 58817 | 20% | 20% | -124246 | -19827 | -86141 | 407037 | 9.6% | -791 | -0.51 | -0.42 | -0.04 | Grace | 2022-11-22
Grace | Naomi | 38940 | Port St. Lucie | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 220 | 335063 | 100% | 100.2% | -761893 | -91429 | -622893 | 430473 | 14.9% | -4848 | -3.11 | -2.65 | -0.28 | Grace | 2022-11-22
Grace | Naomi | 16740 | Gastonia | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000 | 5 | 7647 | 3% | 2.66% | -17203 | -2718 | -7939 | 306561 | 6.1% | -109 | -0.07 | -0.05 | 0
Grace | Naomi | 26900 | Carmel | IN | Duke Energy | 1000 kW | 1000 | 0 | 0 | 0 | 61 | 81103 | 25% | 25.46% | -172197 | -53073 | -157142 | 556250 | 13.2% | -1046 | -0.67 | -0.85 | -0.12 | Grace
Grace | Virginia | 35840 | North Port | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 215 | 335063 | 100% | 100.1% | -760976 | -107750 | -621006 | 425182 | 15.2% | -4843 | -3.1 | -2.61 | -0.27 | Grace | 2022-11-22
Grace | Virignia | 39580 | Cary | NC | Duke Energy Progress | 100 kW | 100 | 20 | 20 | 2000 | 197 | 273225 | 100% | 99.54% | -618422 | -98704 | -525148 | 249713 | 13.9% | -3935 | -2.52 | -2.11 | -0.22 | Grace |  | single phase
Grace | Virginia | 16740 | Concord | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000
Grace | Cam | 29460 | Winter Haven | FL | Tampa electric company | 100 kW? | 100 | 10 | 10 | 1000
Grace | Cam | 37860 | Ferry Pass | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000
Grace | Cam | 12060 | Atlanta | GA | Georgia Power | 10kW | 10 | 10 | 10 | 1000
Cam | Julia | 17820 | Colorado Springs | CO | Colordao Springs Utilities | 15 | 15 | 10 | 10 | 1000 | 163 | 255428 | 100% | 100.2% | -675988 | -23088 | -426686 | 237158 | 13.6% | -4302 | -2.68 | -1.26 | -0.09 | Cam | 2022-11-21
Cam | Julia | 29460 | Lakeland | FL | Tampa electric company | 100 kW? | 100 | 10 | 10 | 1000 | 165 | 255428 | 100% | 99.97% | -579201 | -92393 | -479822 | 283994 | 15.3% | -3686 | -2.37 | -1.99 | -0.21 | Cam | 2022-11-21
Cam | Julia | 35840 | Sarasota | FL | Florida power and light company | 2000 kW | 2000 | 10 | 10 | 1000 | 158 | 255428 | 100% | 99.77% | -578074 | -87087 | -492268 | 271742 | 16.4% | -3679 | -2.36 | -1.98 | -0.21 | Cam | 2022-11-21
Cam | Virginia | 40060 | Richmond | VA | Dominion Energy | 1000 kW | 1000 | 20 | 20 | 2000 | 208 | 285349 | 100% | 99.38% | -644802 | -123711 | -441265 | 354233 | 10.5% | -4103 | -2.63 | -2.19 | -0.23 | Cam | 2022-11-22
Cam | Virginia | 17900 | Columbia | SC | Dominion Energy | 20 kW | 20 | 20 | 20 | 2000
Cam | Virginia | 28940 | Knoxville | TN | Appalachian Power | 10 kW | 10 | 0 | 0 | 0 | 41
Cam | Grace | 36420 | Oklahoma City | OK | OG&E | 25 kW | 25 | 300 | 25 | 2500 | 188 | 285349 | 100% | 100.1% | -751766 | -127479 | -441171 | 278270 | 12% | -4784 | -3.74 | -4.06 | -0.26 | Cam | 2022-11-22
Cam | Grace | 41700 | New Braunfels | TX | Peternales Electric Cooperative | 50 kW | 50 | 0 | 0 | 0 | 62 | 93880 | 28% | 27.9% | -161654 | -16708 | -129551 | 426499 | 10.3% | -1029 | -0.61 | -0.56 | -0.04 | Cam | 2022-11-22
Cam | Grace | 19780 | Des Moines | IA | MidAmerican Energy | 1000 kW | 1000 | 1000 | 1000 | 100000 | 214 | 285448 | 100% | 97.4% | -816036 | -203497 | -390283 | 317089 | 8.6% | -5193 | -3.59 | -4.73 | -0.23 | Cam | 2022-11-22
Cam | Naomi | 32580 | McAllen | TX | Sharyland Utilities LP | 4700 kW | 4700 | 0 | 0 | 0 | 80 | 126342 | 34% | 34.23% | -198349 | -17153 | -211998 | 522430 | 13.8% | -1262 | -0.76 | -0.69 | -0.05 | Cam | 2022-11-22
Cam | Naomi | 39580 | Raleigh | NC | Duke Energy Carolinas | 20 kW | 20 | 20 | 20 | 2000 | 203 | 285487 | 100% | 99.67% | -646666 | -100335 | -393014 | 294838 | 9.3% | -4115 | -2.64 | -2.19 | -0.23 | Cam | 2022-11-22
0

## Metadata
About REopt
Model Inputs
Model Outputs
*Use "financial" result for all but climate and health emissions
Output file naming convention: MSA_State_cbsa#_REopt.pdf
Term | Definition
Average Annaul Energy Supplied from Gird | The expected annual AC energy production from the PV system, in kWh, over the system's lifetime
Average Renewable Electricity (% of electricity consumption) | Expected energy supplied by the utility grid to meet load in year 1, in kWh
Total CO2 Emissions in Year 1 (difference from BAU) | Sum of the CO₂ emissions in metric tons attributable to both the consumption of fuels and the electricity purchased from the utility for the site in year 1. By default, REopt uses marginal grid emissions factors in this calculation
Percent Reduction in CO2 Emissions from BAU | Percent reduction in the total CO₂ emissions which would be realized by the recommended project over the analysis period. This is calculated as the difference between the “Business As Usual” (BAU) case total emissions and the optimized case total emissions, divided by the BAU total emissions.
Lifecycle Total tCO2 (difference from BAU) | Sum of the CO₂ emissions in metric tons attributable to both the consumption of fuels and the electricity purchased from the utility for the site over the analysis period (25 years). By default, REopt uses marginal grid emissions factors in this calculation
Lifecycle Costs of Climate Emissions | Total social cost of CO2 emissions associated with the site’s energy consumption over the analysis period. By default, REopt uses marginal grid emissions factors in this calculation
Lifecycle Costs of Health Emissions | Total cost to human health of NOx, SO2, and PM2.5 emissions associated with the site’s energy consumption over the analysis period. By default, REopt uses marginal grid emissions factors in this calculation.
O&M Cost | Lifecycle cost, in present value, of all operations and maintenance costs
Total Utility Electricity Cost | Lifecycle cost, in present value, of all utility electricity costs, including any export benefits
Total Lifecycle Cost | The present value of costs, after taxes and incentives associated with each project option. For the Financial or Resilience cases, this includes the utility demand and energy costs as well as the capital expenditure, tax benefits and incentives, and O&M costs associated with the project: PV, wind, energy storage, CHP, absorption chiller, and total backup diesel generator (if recommended). Note that fixed fees charged by the utility are not included, and therefore the actual lifecycle cost of energy may be higher if the utility charges fixed fees. However, because fixed fees cannot be offset by PV, wind, energy storage, or CHP, these net out in the calculation of net present value.
Payback Period | The amount of time, in years, required to recover the capital cost of the recommended energy system. The payback period accounts for the value of avoided utility costs realized by the system, installation and operating costs, incentives, income taxes, and depreciation. It is the number of years until the cumulative cashflow reaches a positive number.
PV Levalized Cost of Energy | The levelized cost of energy (LCOE), in $/kWh, is the levelized net present cost of the annual electricity generation for the technology over its lifetime.